## Maufacturer Med. Device
Evaluation Criteria for Manufacturers of Medical Devices, Surgical Disposibles and Sutures for Government MCC 2023-24
Name of the firm
| Product General Information |  |  |  | Technical Evaluation Matrix
S.No |  |  |  |  | Factory Technical Evaluation Parameter | [10 empty] | Factory Evaluated Score | Product technical Evaluation Parameters |  |  |  |  | Product Evaluated Score | Total Technical Score
[5 empty] | Documents Based Factory Score | [6 empty] | Evaluation Visit Score
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
[5 empty] | Valid ISO 14001 certificate of the facility where the quoted product is manufactured, issued by PNAC accredited body (duly attested by senior executive of the firm). Online verification link shall be provided. | Valid ISO 17025 certificate of the facility where the quoted product is manufactured, issued by PNAC accredited body (duly attested by senior executive of the firm) Online verification link shall be provided | Valid ISO 9001 certificate of the facility where the quoted product is manufactured, issued by PNAC accredited body (duly attested by senior executive of the firm). Online verification link shall be provided. | Valid ISO 45001 certificate of the facility where the quoted product is manufactured, issued by PNAC accredited body (duly attested by senior executive of the firm). Online verification link shall be provided. | Valid ISO 13485 certificate of the facility where the quoted product is manufactured, (duly attested by senior executive of the firm). Online verification link shall be provided. | Valid calibration certificates issued by a firm accrediated with PNAC for equipment / instruments used in the factory for Measuring, weighing, Assay/ Analysis of raw material, in-process material and finished products for the manufacturing of the quoted products. (Valid Calibration Certificates attested by Quality head of the firm). | Valid documents of the Federal Board of Revenue (FBR) showing the total financial turnover of the firm for the last year. Maximum 08 marks shall be awarded in the following manner: Financial turnover of PKR 500 to 1000 million - 4 marks. Financial turnover of PKR 1001 million to 2000 million - 6 marks. Financial turnover of more than PKR 2000 million - 08 marks (The document shall be attested by a Senior executive of the firm) | Adherence to Good Storage practices (GSP) for Raw material, In-process and Finished Goods. (as evaluated at the time of inspection by the MCC expert/s). Non adherence to GSP shall lead to disqualification of the firm. | Adherence to Current Good Manufacturing Practices (cGMP) in line with the DRAP regulations. (to be evaluated by the MCC expert/s at the time of inspection, Noncompliance to cGMP shall lead to disqualification of the firm | Availability of, Functional and validated HVAC, with all relevant equipment, testing, and logs. (As evaluated by the MCC expert/s at the time of inspection). Non-availability or non-functionality of the HVAC system and/or testing, and logs shall lead to Disqualification of the firm. | Adequate availability of qualified & relevant Human Resource as per the requirements laid down in DRAP regulations. (Certified by the senior executive of the firm & evaluated by MCC expert/s at the time of inspection, Non-availability shall lead to disqualification of the firm). |  | Goods Declaration certificate of imported raw material of the quoted item/s from Pakistan Customs, coupled with valid airway bill or Bill of Lading for the quoted item/s, not older than 24 months on the cutoff date for submission of bids. (Certificate Duly attested by Senior Executive of the firm) | Certificate of Analysis of raw material from the Principal Manufacturer as mentioned in the goods declaration (GD) provided in column 14, duly attested by the senior executive of the firm. In case of Non-provision of matching GD the marks for CoA will not be awarded. | Tender Approvals (not older than 2 years) from other Secondary & Tertiary Govt. Hospitals outside Khyber Pakhtunkhwa or JCI accredited private entities/hospitals of other provinces of Pakistan. Marks shall be awarded in the following manner: 02 to 04 Tender approvals- 01 mark 05 to 08 Tender approvals- 02 marks 09 to 12 Tender approvals- 03 marks more than 12 Tender approvals- 06 marks Note. Tender approval means award of contract(s) for the quoted product(s) with the same brand name and specifications / strength / dosage form. Moreover, the approval(s) shall be duly attested by the concerned procuring entity/purchasing agency/ies, etc. Copies of the supply orders/purchase orders shall not considered as tender approval. | Valid WHO prequalification and / or valid product registration in SRA country(ies) / and / or valid free sale certificate issued by regulatory body of any SRA country(ies) 05 marks. Certificates on company's own letter heads shall not be acceptable. (copies of relevant certificates duly attested by the senior executive of the firm) | Physical examination of the quoted item/s by the MCC expert/s. Rejection of the quoted item/s by the MCC expert/s shall lead to disqualification of the said item/s.
| Ref. No. of item in MCC Formulary | Generic Name of Item | Size & Guage of MedicaL Device | Trade Name | 3 | 3 | 3 | 3 | 3 | 4 | 8 | 3 | 3 | 3 | 3 | 39 | 5 | 5 | 6 | 5 | 10 | 31 | 70